Seminar
On
POWER FACTOR CORRECTION
ABSTRACT

Learn How Solar Cells Convert The Sun Energy Directly Into Electricity  and How    We Are Getting Clo ser To Using The Solar Energy In Our Day-to-Day Life.

Non-conventional power generation is one of the fastest growing sectors. Globally all countries are busy developing and implementing Non-conventional power to bridge the electricity demand and supply gap.Solar photovoltaic power is leading ahead of the other sources. In a solar power generation system, the PV cell plays a major role.

Solar energy is energy directly from the Sun. This energy drives the climate and weather and supports virtually all life on Earth. Heat and light from the sun, along with solar-based resources such as wind and wave power, hydroelectricity and biomass, account for most of the available flow of renewable energy. Their universal appeal lies in the fact that they generate electricity from the sun. Working Photovoltaics have no moving parts, are relatively simple in design, need very little maintenance and are environmentally benign. They simply and silently produce electricity whenever they are exposed to light.
I have mainly covered solar energy conversion into electrical energy, components required for this & their detail and major applications of solar energy.

Table Of Contents

S.NO.                       CONTENTS                                              PAGE NO.
1.

Power Factor





                  01 - 11  

     1.1              Introduction







01
     1.2

Definition







01
      1.3

Basics








03

      1.4

Power Factor in AC Linear Circuits




06

2. 

Power Triangle





       12 - 17
      2.1

Its Components






12
      2.2

Why improve power Factor





17
      2.3

Causes of Power Factor





17
3. 

Power Factor Correction




        18 - 42
      3.1

Linear Loads







18
      3.2

Non Linear Loads






19

3.3.1
SMPS








19
      3.3

How PFC Releases System Capacity




23
      3.4

How PFC Reduces Conductor losses



   
25
      3.5

Types of PFC







26

      3.6

Passive PFC







27


3.6.1
Introduction







27


3.6.2
Bulk correction






30


3.6.3
Static Correction






30


3.6.4
How Capacitors Work






32


3.6.5
Inverter







36


3.6.6
Solid State Soft Starter





36


3.6.7
Capacitor Selection






37

      3.7

Active PFC







38


3.7.1
Boost Converter






38


3.7.2
buck Converter






40

4.

Importance of PFC





       
43
5.

Benefits of PFC




     

44
6.  

Applications of PFC





        46 - 50            7.

Conclusion







63
8.

Reference        






64
PAGE  
iii

